| CASE INFORMATION |  |  |  |
| --- | --- | --- | --- |
| Requested Device Name/Description: |  | OPM Case #: | OPM Case # |
| Requested Device Type/Indication: |  | Physician: | Physician |
| YTD Quantity: |  | Patient ID: | Patient |
| Country: | Country | Surgery Date: | Surgery Date |

A requested Personalized Medical Device / Custom Device that is intended for distribution and use in the United States must meet each of the following definitions as defined according to Section 520(b) of the Food, Drug and Cosmetic Act, and the Custom Device Exemption CDRH Guidance Appendix III Custom Device Decision Tree, September 24, 2014.

Would this Custom Device be:

| YES | NO |  |
| --- | --- | --- |
|  |  | Created or modified in order to comply with the order of an individual physician? |
|  |  | Necessarily deviated from an otherwise applicable performance standard under section 514 or requirement under section 515? |
|  |  | Not generally available in the United States in finished form through labeling or advertising by the manufacturer, importer, or distributor for commercial distribution? |
|  |  | Designed to treat a unique pathology or physiological condition that no other device is domestically available to treat? |
|  |  | Intended to meet the special needs of such physician in the course of the professional practice of such physician? Or intended for use by an individual patient named in such order of such physician? |
|  |  | Assembled from components or manufactured and finished on a case-by-case basis to accommodate the unique needs of individuals described in clause (i) or (ii) of subparagraph (E) of section 520(b) FD&C Act? |
|  |  | For the purpose of treating a sufficiently rare condition, such that conducting clinical investigations on such devices would be impractical? |
|  |  | Produced in quantities of 5 or less per year of a particular device type? |

In addition, the following six (6) questions are taken from the International Medical Device Regulators Forum (IMDRF) Personalized Medical Devices – Regulatory Pathways FINAL DOCUMENT 2.0 Decision Tree dated September 14, 2023.

For this Custom Device request:

| YES | NO |  |
| --- | --- | --- |
|  |  | Is the device intended to suit an individual’s specific anatomic-physiologic features or pathological condition? |
|  |  | Is the device designed, prior to manufacture, for a particular individual? |
|  |  | Is the device manufactured as a result of a written request of an authorized healthcare professional? |
|  |  | Does the written request include specific design characteristics (example: material, thickness, angle, method of fixation, points of fixation, surface finish, etc.)? |
|  |  | Is the device intended for a case where an individual’s specific needs cannot be met, or cannot be met at the appropriate level of performance, by an alternative device available on the market? |
|  |  | Is the design of the device, within the context of clinical practice, the responsibility of the healthcare professional even though the design may have been developed in consultation with a manufacturer? |

Answers to all of the questions above must be affirmative to confirm appropriate use of the Custom Device regulatory pathway. Indicate qualification status below.

| YES | All requirements met and qualifies as a Personalized Medical Device / Custom Device |
| --- | --- |
| NO | Does not meet the requirements of a Personalized Medical Device / Custom Device |
| Justification: |  |

For custom device requests that are determined by Oxford Performance Materials to qualify as a Personalized Medical Device / Custom Device, OPM asserts that the device satisfies the regulatory requirements and is subject to the requirements of annual notification to the FDA detailed in 21 USC 520(b)(2)(c).

| Completed By (Print Name) | Title | Signature | Date |
| --- | --- | --- | --- |

| Approved By (Print Name) | Title | Signature | Date |
| --- | --- | --- | --- |